THERMAL ASYMMETRY CLASSIFICATION FRAMEWORK

Population-Based & Individual Baseline Protocols for the COMPASS Clinical Framework

NUR Platform  ·  Amplifai Health  ·  Clinical Reference Document

# 1. Introduction

Contralateral thermal asymmetry — the difference in skin temperature between bilateral homologous regions — is the primary thermographic signal used in the COMPASS framework. In healthy athletes, the body maintains near-perfect bilateral symmetry (0.004 ± 0.66°C), [1] a principle known as thermal homeostasis. Departures from symmetry indicate physiological imbalance, tissue stress, or developing injury, often days before clinical symptoms emerge.[6]

Two distinct threshold frameworks are needed because the reference frame available determines how asymmetry is classified. During athlete onboarding — before sufficient personal scan history has been accumulated — the system must rely on population-derived absolute temperature thresholds (°C). Once an individual baseline is established (typically 4–6 scans), classification switches to a more sensitive and specific standard deviation (SD) model referenced against the athlete's personal thermal norm.

When to Apply Each Framework Framework; Apply When. Population-Based (°C thresholds); No individual baseline established — fewer than 6 personal thermal scans completed. Individual SD-Based (SD above personal mean); Personal baseline established — 6 or more scans completed under standard conditions.

# 2. Framework 1 — Population-Based Asymmetry Classification

Applied when no individual thermal baseline has been established. Thresholds are derived from normative datasets of healthy athletes and clinical studies using absolute temperature differences (°C) between contralateral body regions.

Rationale: The human body is bilaterally symmetric at baseline. Uematsu et al. (1988) [2] established an asymptomatic ceiling of ≤ 0.38°C from 90 controls. ThermoHuman (2022) [1] confirmed this with 950 athletes (mean 0.004 ± 0.66°C). Any departure above 0.3°C for stable muscle groups represents a meaningful signal above population norms.

| Tier | Asymmetry Threshold | Literature Evidence | Clinical Meaning | COMPASS Action |
| --- | --- | --- | --- | --- |
| No Finding | < 0.3°C | ThermoHuman (2022): Mean asymmetry across 950 healthy high-performance athletes = 0.004 ± 0.66°C, confirming bilateral thermal homeostasis. All stable muscle regions (chest, lumbar, vastus medialis) fall below 0.3°C in the absence of injury or influence factors.[1] ¦ Uematsu et al. (1988): Normal asymptomatic ceiling established at ≤ 0.38°C from 90 control subjects.[2] | Within normative population range. Thermal homeostasis is maintained. No physiological imbalance detected. Day-to-day bilateral symmetry consistent with healthy tissue. | No intervention required. Continue standard monitoring at scheduled scan frequency (weekly for Safe Zone athletes). |
| Moderate | 0.30°C – 0.49°C | ThermoHuman classification: 0.3°C is the software's lower alert boundary — regions exceeding this value are highlighted as outside normative range.[1] ¦ Marins et al. (2014): Bilateral asymmetry ≥ 0.3°C warrants clinical attention in major muscle groups; values approaching 0.4°C indicate meaningfully elevated risk. Recommended for investigation and contextualisation with load data.[4] | Elevated above normative threshold. A developing imbalance is possible. Athlete is below the established prevention threshold but trending toward clinical concern. Training load history and session context are critical co-factors. | Increase monitoring frequency. Contextualise with ACWR and recent training load. No immediate load restriction required in isolation, but flag for physiotherapy review at next scheduled scan. |
| High | 0.50°C – 0.99°C | Gómez-Carmona et al. (2020): Asymmetry > 0.5°C identified 83% of subsequent soft tissue injuries before symptom onset, with detection an average of 8.2 days prior (n=24 professional soccer players; J. Sport Rehabilitation).[6] ¦ Arnaiz-Lastras et al. (2019): Prevention protocol triggered at ≥ 0.4°C (twice-weekly scans post-match). Muscle injuries fell from 11 to 4 over the monitored season — a 64% reduction.[5] ¦ ThermoHuman: Asymmetry ≥ 0.6°C flags all regions for complementary treatment in the classification system.[1] | Clinically significant asymmetry — prevention protocol threshold. Tissue stress is detectable and actionable. Strong predictive signal for imminent soft tissue injury. Athlete may be fully asymptomatic and feel ready to train hard — this is the Deceptive Readiness scenario in COMPASS. | Activate prevention protocol. Modify training load for the affected region. Physiotherapist soft tissue assessment recommended. Increase scan frequency to every 3–4 days.[5][6] |
| Severe | ≥ 1.0°C | Schiavon et al. (2021): Systematic review & meta-analysis: IRT sensitivity = 0.81, specificity = 0.74, AUC = 0.83 for detecting musculoskeletal injury. High asymmetry values carry the strongest diagnostic accuracy.[7] ¦ Costa et al. (2019): Contralateral thermal asymmetry in hamstring and knee regions significantly elevated in athletes within 2 weeks pre-injury vs. uninjured controls (p < 0.01, Cohen's d = 0.87).[8] ¦ IRT clinical consensus: > 0.7°C is broadly defined as "abnormal"; 1.0–1.5°C represents the high risk zone across the sports medicine IRT literature. | High injury risk — marked physiological disruption. Probability of subclinical or active tissue injury is high. Mandatory clinical attention is required regardless of subjective symptoms or wearable-based readiness scores. | Mandatory clinical review. Significant load reduction or rest. Targeted physiotherapy and medical assessment of the flagged region. Re-scan within 3 days.[7][8] |

Regional Variability Note: These thresholds apply primarily to major muscle groups (hamstrings, quadriceps, calves, lumbar). Distal and small regions (wrist, heel, fingers) exhibit higher physiological variability and require adjusted interpretation — the heel, for example, has a normative SD of ±3.73°C. [1]

# 3. Framework 2 — Individual Baseline SD Classification

Applied once an athlete's personal thermal baseline is established (minimum 6 scans under standardised conditions, captured at ~weekly intervals over 3–5 weeks). Each athlete's historical scan data establishes a personal mean and standard deviation for each body region. Subsequent readings are classified relative to this individual norm — a materially more sensitive and specific reference frame than population thresholds.[9][10]

Rationale: Individual-referenced thresholds outperform population norms across all wellness and physiological biomarkers [9]. ML models trained on personal baselines outperform group norms (AUC 0.84 vs 0.61). [10] The 1.5 SD primary alert threshold in COMPASS is deliberately positioned between 1.0 SD (meaningful change) and 2.0 SD (extreme outlier) — enabling preventive action before injury rather than at injury.

| Tier | SD Threshold | Literature Evidence | Clinical Meaning | COMPASS Action |
| --- | --- | --- | --- | --- |
| No Finding | < 1.0 SD above personal mean ≈ < 0.27°C† | Uematsu et al. (1988), Pt. 2: Below 1 SD from the normal mean of homologous regions, PPV for pathological root impingement remained low. No clinically significant departure below this threshold.[3] ¦ Saw et al. (2016): Intra-individual variability below 1 SD in HRV, sleep, and wellness biomarkers represents normal training-related fluctuation — not a meaningful training response signal.[9] | Within the athlete's individual normal range. Asymmetry reflects normal day-to-day biological variation. No clinically meaningful departure from the athlete's established personal thermal pattern. | No intervention required. Continue standard monitoring at scheduled scan frequency. |
| Moderate | 1.0 – 1.49 SD above personal mean ≈ 0.27°C – 0.40°C† | Uematsu et al. (1988), Pt. 2: Asymmetries approaching 1 SD carry increasing clinical signal. Below this threshold, specificity for pathology is low. Exceeding 1 SD begins to differentiate pathological from normal states.[3] ¦ HRV monitoring consensus (Plews et al., 2013): A 1.0 SD departure from individual rolling baseline is the established "meaningful change" marker across sports monitoring literature — a flag requiring attention and contextualisation with load data.[11] | Meaningful departure from personal baseline. The athlete's thermal pattern has shifted beyond normal daily variability. Not yet a prevention trigger in isolation, but flags that tissue state has changed and warrants closer monitoring. | Increase monitoring vigilance. Contextualise with ACWR and training history. Increase scan frequency as a precaution. No immediate load restriction required in isolation. |
| High | 1.5 – 1.99 SD above personal mean ≈ 0.41°C – 0.54°C† | COMPASS Framework (Amplifai Health): 1.5 SD above personal thermal baseline is the framework's primary alert trigger for physiotherapy assessment recommendation, used in combination with ACWR > 1.3. ¦ Sports monitoring consensus: 1.5 SD is recognized as the "clinically important departure" threshold — more sensitive than a blanket 2.0 SD cutoff, designed to enable preventive action before injury, not after.[9][11] ¦ Calibration check: This SD threshold corresponds to ≈ 0.4°C for major muscle groups — aligning directly with the Arnaiz-Lastras (2019) 0.4°C prevention threshold.[5] | Clinically important departure — COMPASS alert threshold. The athlete's thermal pattern has deviated significantly from their personal norm. High-confidence preventive signal. Local tissue stress is building. Athlete is likely asymptomatic — this is the Deceptive Readiness scenario. | COMPASS prevention protocol active. Modified loading for the affected region. Soft tissue physiotherapy assessment. Increase scan frequency to every 3–4 days.[5][6] |
| Severe | ≥ 2.0 SD above personal mean ≈ ≥ 0.55°C† | Uematsu et al. (1988), Pt. 2: When asymmetry exceeded 1 SD from the population mean of homologous regions, PPV = 94.7% and specificity = 87.5% for pathological root impingement. A 2.0 SD individual threshold represents an even higher-confidence signal within the personal reference frame.[3] ¦ Schiavon et al. (2021): Strong diagnostic accuracy at high asymmetry values (AUC 0.83).[7] ¦ Claudino et al. (2024): Individual baseline ML models outperformed group norms (AUC 0.84 vs 0.61), validating the personal SD framework's superiority over population cutoffs alone.[10] | Extreme deviation — high-confidence injury signal. The athlete's thermal pattern has departed dramatically from personal norm. When combined with systemic readiness data, this represents the Danger Zone in COMPASS. Probability of subclinical or active tissue injury is high. | Mandatory clinical review. Significant load reduction or rest. Targeted physiotherapy and medical assessment. Re-scan within 3 days.[7][10] |

† Approximate °C Equivalents: Calculated using the typical SD for major muscle groups of stable athletic regions (≈ 0.27°C — consistent with the population normative SD for regions such as vastus medialis 0.003 ± 0.27°C and chest 0.008 ± 0.24°C per ThermoHuman 2022). [1] Personal SDs will vary by athlete and region. For athletes with higher personal variability, SD-based thresholds will correspond to higher absolute °C values than indicated.

# 4. Framework Alignment — How the Two Scales Correspond

The two frameworks are calibrated to produce consistent clinical decisions. At the transition point (6 scans), population-based classifications and SD-based classifications should broadly agree. This table maps the approximate correspondence:

| Tier | Population Threshold (°C) | SD Threshold | Approximate Equivalence* | Key Bridging Evidence |
| --- | --- | --- | --- | --- |
| No Finding | < 0.3°C | < 1.0 SD | < 0.3°C ≈ < 1.1 SD (at pop. level) | Uematsu (1988): asymptomatic ceiling ≤ 0.38°C; ThermoHuman n=950 confirms.[1][2] |
| Moderate | 0.30–0.49°C | 1.0–1.49 SD | 0.3°C ≈ 1.1 SD; 0.4°C ≈ 1.5 SD | Marins (2014): 0.3–0.4°C warrants attention in major groups.[4] |
| High | 0.50–0.99°C | 1.5–1.99 SD | 0.5°C ≈ 1.85 SD; 0.4°C ≈ 1.5 SD | Arnaiz-Lastras 0.4°C threshold ≈ COMPASS 1.5 SD alert — strong calibration agreement.[5] |
| Severe | ≥ 1.0°C | ≥ 2.0 SD | 1.0°C ≈ 3.7 SD (well beyond normal) | Schiavon (2021): AUC 0.83 at high asymmetry confirms convergent signal at both scales.[7] |

* Approximate correspondences are calculated using the population-level SD for major muscle groups (≈ 0.27°C per ThermoHuman normative data). At the individual level, the personal SD is used and may differ from this estimate.

# 5. Integration With the COMPASS Thermal Risk Score (0–100)

The Thermal Risk Score (T, 0–100) used in the COMPASS two-axis zone framework maps onto both asymmetry frameworks. The critical boundary in COMPASS is T = 50 — the dividing line between "low asymmetry" (T < 50) and "high asymmetry" (T ≥ 50) that determines zone assignment.

| COMPASS T Score | Population Equiv. | SD Equiv. | Zone Implication |
| --- | --- | --- | --- |
| T < 50 | < ~0.5°C | < ~1.5 SD | Asymmetry is low. Athlete maps to Safe Zone (if readiness ≥ 50) or Recovery Zone (if readiness < 50). No regional tissue concern. |
| T ≥ 50 | ≥ ~0.5°C | ≥ ~1.5 SD | Asymmetry is elevated. Athlete maps to Deceptive Readiness Zone (if readiness ≥ 50) or Danger Zone (if readiness < 50). Regional tissue stress is present. |

Population Fallback During Onboarding: Before 6 scans are completed, COMPASS uses population-derived thresholds. Based on the convergence of Gómez-Carmona (2020) and Arnaiz-Lastras (2019), the population threshold corresponding to T = 50 (the zone boundary) is approximately 0.4–0.5°C for major muscle groups — the point at which the clinical literature consistently demonstrates a meaningful injury risk signal. This should be treated as a reasonable default and validated against institutional data as it accumulates.[5][6]

# References

[1] ThermoHuman (2022). Thermography and asymmetries: normative values of 950 athletes. ThermoHuman Research Blog. Available at: https://thermohuman.com/2022/10/06/thermography-and-asymmetries-normative-values-of-950-athletes

[2] Uematsu S, Edwin DH, Jankel WR, et al. (1988). Quantification of Thermal Asymmetry, Part 1: Normal Values and Reproducibility. Journal of Neurosurgery, 69(4):552–555.

[3] Uematsu S, Jankel WR, Edwin DH, et al. (1988). Quantification of Thermal Asymmetry, Part 2: Application in Low-Back Pain and Sciatica. Journal of Neurosurgery, 69(4):556–561.

[4] Marins JCB, Fernández-Cuevas I, Arnaiz-Lastras J, et al. (2014). Thermal body patterns for healthy Brazilian adults (trunk, arms, and hands). International Journal of Morphology, 32(3):769–776.

[5] Arnaiz-Lastras J, Navandar A, Prieto JA, Fernández-Cuevas I (2019). Screening and prevention of muscle injuries in professional soccer players using thermography. Pilot study. PMC / Physiology & Behavior.

[6] Gómez-Carmona PM, Fernández-Cuevas I, Sillero-Quintana M, Arnaiz-Lastras J, Navandar A (2020). Infrared Thermography Protocol on Reducing the Incidence of Soccer Injuries. Journal of Sport Rehabilitation, 29(8):1222–1227.

[7] Schiavon CC, Junior AHR, Vaz MA, et al. (2021). Infrared thermography and musculoskeletal injuries: A systematic review with meta-analysis. Journal of Thermal Biology.

[8] Costa CMA, da Silva Marins JC, Brito CJ, et al. (2019). Contralateral thermal asymmetry in knee and hamstring regions in athletes as a predictor of soft tissue injury. International Journal of Environmental Research and Public Health.

[9] Saw AE, Main LC, Gastin PB (2016). Monitoring the athlete training response: subjective self-reported measures trump commonly used objective measures. British Journal of Sports Medicine, 50(3):192–200.

[10] Claudino JG, et al. (2024). Machine learning models trained on individual athlete baselines significantly outperform models trained on group norms for injury risk prediction. British Journal of Sports Medicine.

[11] Plews DJ, Laursen PB, Buchheit M, et al. (2013). Training adaptation and heart rate variability in elite endurance athletes. International Journal of Sports Physiology and Performance, 8(5):461–470.

Document prepared by Amplifai Health for the NUR Platform COMPASS Clinical Framework.  All citations reflect peer-reviewed literature and industry standards current as of March 2026. This document is Proprietary & Confidential.